## Stepped Field Ref Stds & Scale
Please input your experimental effective length in cell D4 and your tune mix ion measurements in the table below. This spreadsheet needs to be completed for each day of data acquisition.
Experimental Effective Length (cm):
Experimental Replicate 1 m/z | Experimental Replicate 2 m/z | Experimental Replicate 3 m/z | Experimental Replicate 1 CCS | Experimental Replicate 2 CCS | Experimental Replicate 3 CCS | Reference Standard m/z | Reference Standard CCS | Experimental Average m/z | mz error (ppm) | Experimental Average CCS | CCS Std Dev | CCS % RSD | Scale Factor | New Effective Length | Polarity
[6 empty] | 118.086 | 121.3 | [7 empty] | +
[6 empty] | 322.048 | 153.73 | [7 empty] | +
[6 empty] | 622.029 | 202.96 | [7 empty] | +
[6 empty] | 922.01 | 243.64 | [7 empty] | +
[6 empty] | 1221.991 | 282.2 | [7 empty] | +
[6 empty] | 1521.971 | 316.96 | [7 empty] | +
[6 empty] | 1821.952 | 351.25 | [7 empty] | +
[6 empty] | 2121.933 | 383.03 | [7 empty] | +
[6 empty] | 2421.914 | 412.96 | [7 empty] | +
[6 empty] | 2721.895 | 441.21 | [7 empty] | +
[6 empty] | 112.986 | 108.23 | [7 empty] | -
[6 empty] | 301.998 | 140.04 | [7 empty] | -
[6 empty] | 601.979 | 180.77 | [7 empty] | -
[6 empty] | 1033.969 | 255.34 | [7 empty] | -
[6 empty] | 1333.969 | 284.76 | [7 empty] | -
[6 empty] | 1633.95 | 319.03 | [7 empty] | -
[6 empty] | 1933.931 | 352.55 | [7 empty] | -
[6 empty] | 2233.911 | 380.74 | [7 empty] | -
[6 empty] | 2533.892 | 412.99 | [7 empty] | -
[6 empty] | 2833.873 | 432.62 | [7 empty] | -
[10 empty] | Averages: |  |  | Averages:

## Stepped Field Data Format
Compound | Formula | CAS | InChi Key | Adduct | Charge | Experimental Replicate 1 m/z | Experimental Replicate 2 m/z | Experimental Replicate 3 m/z | Experimental Replicate 1 CCS | Experimental Replicate 2 CCS | Experimental Replicate 3 CCS | Average Experimental m/z | Average Experimental CCS | Std. Dev | % RSD | Scaled CCS | CCS/z | Peak Number | Source | DOI
Example Lipid | C45H73NO8P | 5634-86-6 | JTERLNYVBOZRHI-RIIGGKATSA-N | [M-H] | -1 | 786.507 | 786.5074 | 786.5109 | 277.3038 | 277.33 | 277.27 | 𝜇 m/z | 𝜇 CCS | 𝜎 | =𝜎/𝜇CCS*100 | =𝜇*(old effective length/ new effective length)^2 | 277.3038 | 1 | Research Group | If unpublished, please fill in as "unpublished".